# PV labelling of households

Method, rules and validation – E.ON day-ahead forecasting challenge, household preprocessing

# 1. Problem

The dataset contains 410 households with a heat pump. Whether a household also owns a PV system is recorded in households.csv (Installation_HasPVSystem): 131 PV, 114 no PV, 165 unknown. PV changes the load profile strongly, so the forecasting and grouping steps need a PV label for every household. Goal: fill the 165 unknown labels from the consumption data, with a rule whose accuracy is measured on the 245 known labels.

# 2. Why PV is visible in the data

The smart meter only measures energy taken from the grid (kWh_received_Total). There is no column for energy fed back (kWh_returned). A house uses its own solar power first, so:

Grid import = consumption − PV production, but never below 0.

When the panels produce more than the house needs, the surplus is exported and the recorded import is exactly 0. A house without PV always draws some power (fridge, heat-pump standby, router), so its import practically never reaches 0.

| Time (local) | Consumption | PV production | Recorded import |
| --- | --- | --- | --- |
| 03:00 | 0.3 | 0.0 | 0.3 |
| 12:00 | 0.4 | 1.5 | 0.0 |
| 13:00 | 0.6 | 1.4 | 0.0 |
| 21:00 | 0.7 | 0.0 | 0.7 |

Example: sunny day, house with PV (kWh per 15 min). The PV signal is import = 0 at midday.

# 3. Approaches considered and rejected

- “Total > 0 means PV”: Total is import only and is above 0 for every house most of the time (nights, evenings). The rule would label all 410 houses as PV.

- “Total < HeatPump means PV”: in this dataset Total is exactly HeatPump + Other (difference 0.000 in every row), so Total can never be smaller. Only 21 houses have heat-pump data at all.

- “All unknown houses = no PV”: unknown means “not recorded”, not “no PV”. This would mislabel every PV owner among them.

# 4. The rule

- Input: only Household_ID, Timestamp (UTC) and kWh_received_Total. The PV label itself is not used to compute the feature.

- Window: readings between 10:00 and 13:59 UTC (12:00–15:59 German summer time), all months.

- Zero: a reading counts as zero if it is below 0.005 kWh per 15 min (allows for meter rounding).

- Missing values: readings without a value (NaN) are excluded, neither counted as zero nor as non-zero.

- Feature: pv_zero_share = zero readings ÷ valid readings in the window × 100.

- Minimum data: at least 96 valid readings in the window (≈ 6 days); otherwise the house is not judged.

- Decision: pv_zero_share > 4 % → PV, otherwise no PV.

- Priority: a label from households.csv is never overwritten. The rule only fills unknown labels. pv_label_source records metadata / inferred / unknown.

Worked example (one day, 16 midday readings): House A (PV) has 1 missing, 15 valid, 11 zero → 11 ÷ 15 = 73 %. House B (no PV) has 2 missing, 14 valid, 0 zero → 0 %. In practice the share is computed over all available days, so cloudy days lower it: real PV houses lie between about 15 % and 90 %, not at 100 %.

# 5. Validation on the known labels

All choices (window and threshold) were tested only on the 242 households with a known label and enough data (131 PV, 111 no PV). The 165 unknown households were not used, so the rule is not graded with its own guesses.

| Window | Best threshold | Accuracy | PV found | False PV |
| --- | --- | --- | --- | --- |
| Apr–Sep, 10–13 UTC | 4 % | 92.6 % | 107/122 | 2/109 |
| Apr–Sep, 7–16 UTC (into evening) | 4 % | 92.7 % | 109/125 | 1/109 |
| May–Aug, 10–13 UTC | 3 % | 92.2 % | 107/122 | 3/109 |
| Mar–Oct, 10–13 UTC | 4 % | 93.6 % | 113/125 | 3/109 |
| All year, 10–13 UTC (chosen) | 4 % | 93.8 % | 118/131 | 2/111 |

Every window gives 92–94 %: the method is robust to this choice. “All year” judges the most houses (242) because it also covers houses without summer data.

Per hour, PV houses reach their highest zero share at 11–13 UTC (median ≈ 74–75 %), while houses without PV stay at about 2 % at every hour. Even in winter PV houses still show ≈ 15 % zeros at midday, which is why all months can be used.

# 6. Why 4 %

| Threshold | Accuracy | PV found (recall) | False PV | Precision |
| --- | --- | --- | --- | --- |
| 1 % | 88.8 % | 125/131 (95 %) | 21/111 | 85.6 % |
| 2 % | 90.1 % | 121/131 (92 %) | 14/111 | 89.6 % |
| 3 % | 92.1 % | 120/131 (92 %) | 8/111 | 93.8 % |
| 4 % | 93.8 % | 118/131 (90 %) | 2/111 | 98.3 % |
| 6 % | 93.4 % | 116/131 (89 %) | 1/111 | 99.1 % |
| 10 % | 90.5 % | 109/131 (83 %) | 1/111 | 99.1 % |
| 20 % | 88.8 % | 104/131 (79 %) | 0/111 | 100 % |

Precision = when the rule says PV, how often it is right. Recall = share of real PV houses that are found.

Low thresholds call houses with occasional zeros (holidays, meter glitches) PV; high thresholds miss real PV houses with fewer zeros. 4 % gives the highest accuracy (93.8 %) with only 2 false PV out of 111. The non-PV houses sit at a median of 0.4 % and 95 % of them below ≈ 3 %, so 4 % lies just above their normal range.

# 7. Errors and limitations

- 2 “false PV” houses most likely installed PV later. House 721074 has 0–2 % midday zeros until mid-2022 and 14 → 20 → 36 → 43 % from Q4 2022; house 796869 has 0–3 % until mid-2023 and 19–30 % afterwards. The metadata label (“no PV”) was probably recorded before installation: the label is outdated, not the rule.

- 13 PV houses are missed (0.1–3.3 %). Likely reasons: a battery, a small PV system or high midday consumption, or a wrong label. House 725101 shows 0 % zeros in every quarter over 2.5 years.

- Inferred “no PV” is less certain than inferred “PV”: about 10 % of real PV houses are missed, so a few of the 145 inferred no-PV houses may own PV. pv_label_source lets the modelling team treat inferred labels with care.

- The label is static per house, while PV status can change over time. A time-dependent flag is possible future work.

# 8. Result

| Label source | No PV | PV | Households |
| --- | --- | --- | --- |
| Metadata (unchanged) | 114 | 131 | 245 |
| Inferred by the rule | 145 | 19 | 164 |
| Unknown | – | – | 1 |
| Total | 259 | 150 | 410 |

The one unknown household (1065698) has no label and no whole-house meter data (heat-pump sub-meter only); it is excluded from modelling anyway.

Summary: a PV household imports exactly zero at sunny midday because it supplies itself; a household without PV never does. Using the share of zero readings between 10:00 and 13:59 UTC with a 4 % threshold, the known PV labels are reproduced with 93.8 % accuracy and 98.3 % precision, and 409 of 410 households now carry a PV label.